PRE-SCREEN CHECKLIST

COMMERCIAL BUILDING PERMITS

FOLDERS:

All drawings must be submitted as individual sheets in the drawings folder.

Documents should be included in the document folder.

NEW COMMERCIAL:

Reviews: Comm, Fire, Dev Serv (ground/parking lot/drainage), Health (food), Env Comp (food/grease prep), Planning (if “P” zoning)

- Texas Accessibility and Barriers Standards (TABS)

TDLR/TABS (if project exceeds $50,000) confirmation number should be included in Plans and Trakit

- Building Envelope Comcheck

New construction requires a Comcheck

- Electrical Comcheck

New construction requires Comcheck (interior and exterior).

Shell only buildings that do not include interior work will not require this.

- Mechanical Comcheck

New construction that includes the HVAC system.

Shell only buildings that do not include interior work will not require this.

- Cover Sheet

- Permit application submitted cover sheets must include the following:

- Design criteria used such as 2021 ICC code standards and, 2023 NEC.

- Occupancy classification based on the IBC chapter 3

- Construction type (based on chapter 6)

- Any fire resistive requirements. (required and provided)

- Allowable area (based on section 506) If increase is applicable please provide calculations

- Allowable height (based on section504) If increase is applicable please provide calculations

- Some larger projects will require a life safety plan

- Square footage calculations

- Fire protection. (fire sprinklers, fire alarm) (required and provided)

- Occupancy load based on chapter 10

- Egress information

- Max access travel distance (required and provided)

- Exit door size (based on section 1005) (required and provided)

- Number of exits (required and provided)

This list is not all-inclusive and not all information may be applicable. Interior finish-out or renovation may not require the area and height calculations. Additional information may also include a site plan and scope of work or project description.  This information should also be included with an occupancy change C-O application with the exception of the area and height sections.

- Professional Engineered Design - All projects 5,000 SF or greater (new construction or area of renovation) must be stamped, signed and dated by a Professional Engineer (PE). This stamp must be on all MEP and structural pages.

COMMERCIAL RENOVATIONS/REMODELS/ADDITIONS:

Reviews: Comm, Fire, Dev Serv (ground/parking lot/drainage), Health (food), Env Comp (food/grease prep), Planning (if “P” zoning)

- ASBESTOS SURVEY/REPORT

For any commercial renovation project, a current Asbestos report showing the area of renovation.

- Texas Accessibility and Barriers Standards (TABS)

TDLR/TABS (if project exceeds $50,000) confirmation number should be included in Plans and Trakit

- Building Envelope Comcheck

Only if alteration includes inside and outside of building.

- Electrical Comcheck

Only if lighting system is altered.

- Mechanical Comcheck

Only if HVAC system is altered.

- Cover Sheet

1. Permit application submitted cover sheets must include the following:

- Design criteria used such as 2021 ICC code standards and, 2023 NEC.

- Occupancy classification based on the IBC chapter 3

- Construction type (based on chapter 6)

- Any fire resistive requirements. (required and provided)

- Allowable area (based on section 506) If increase is applicable please provide calculations

- Allowable height (based on section504) If increase is applicable please provide calculations

- Some larger projects will require a life safety plan

- Square footage calculations

- Fire protection. (fire sprinklers, fire alarm) (required and provided)

- Occupancy load based on chapter 10

- Egress information

- Max access travel distance (required and provided)

- Exit door size (based on section 1005) (required and provided)

- Number of exits (required and provided)

This list is not all-inclusive and not all information may be applicable. Interior finish-out or renovation may not require the area and height calculations. Additional information may also include a site plan and scope of work or project description.  This information should also be included with an occupancy change C-O application with the exception of the area and height sections.

- Professional Engineered Design

All projects 5,000 SF or greater (new construction or area of renovation) must be stamped, signed and dated by a Professional Engineer (PE). This stamp must be on all MEP and structural pages.

COMMERICAL SHELLS AND TENANT FINISH-OUTS:

Reviews: Comm, Fire, Dev Serv (ground/parking lot/drainage), Health (food), Env Comp (food/grease prep), Planning (if “P” zoning)

- Texas Accessibility and Barriers Standards (TABS)

TDLR/TABS (if project exceeds $50,000) confirmation number should be included in Plans and Trakit

- Building Envelope Comcheck

Interior finish-out will not require a building envelope unless they are altering the exterior of the 	building.

- Electrical Comcheck

Shell only buildings that do not include interior work will not require this.

Interior finish-out requires an interior Comcheck if the lighting system is altered.

- Mechanical Comcheck

Shell only buildings that do not include the HVAC system will not require this.

Interior finish-out that includes the HVAC system will require this.

- Cover Sheet

1. Permit application submitted cover sheets must include the following:

- Design criteria used such as 2021 ICC code standards and, 2023 NEC.

- Occupancy classification based on the IBC chapter 3

- Construction type (based on chapter 6)

- Any fire resistive requirements. (required and provided)

- Allowable area (based on section 506) If increase is applicable please provide calculations

- Allowable height (based on section504) If increase is applicable please provide calculations

- Some larger projects will require a life safety plan

- Square footage calculations

- Fire protection. (fire sprinklers, fire alarm) (required and provided)

- Occupancy load based on chapter 10

- Egress information

- Max access travel distance (required and provided)

- Exit door size (based on section 1005) (required and provided)

- Number of exits (required and provided)

- Professional Engineered Design - All projects 5,000 SF or greater (new construction or area of renovation) must be stamped, signed and dated by a Professional Engineer (PE). This stamp must be on all MEP and structural pages.

COMMERCIAL ROOF REPLACEMENT:

Reviews: Comm

- Scope of work should include the following. (This type of permit may be applied for in TRAKit)

- Extent of material removal

- If above roof insulation, include the “R” value of insulation being replaced. (R-25ci minimum)

- Material used in roof replacement with manufacturer specs.

COMMERCIAL POOLS:

Reviews: Comm, Health, Fire

- Plans should include:

1. Accurate site plan.

2. The fence/barrier (minimum of 6’ in height).

3. Electrical details including the location of the pool equipment.

- Health department review should be included on all commercial pool permits!

IRRIGATION:

Reviews: Comm

- Permits are applied for in TRAKIT only.

- Plans should include the following

- All plans must include a licensed Texas irrigator’s seal, signed and dated.

- Plumbing devices including backflow device, wye strainer, cutoff valve, and water meter.

- All water emitting devices.

- Control panel location.

- Rain sensor location.

- Site plan.

- North arrow.

- Legend.

- Zone flow measurements.

- Main line and lateral piping.

SIGNS:

Reviews: Comm, Planning

- Permit are applied for in TRAKIT only.

- Plans should include the following for commercial sign permit

- All monument signs 8’ or greater in height must include a Professional Engineered design stamp dated and signed. Signs lesser in height may require a footing detail.

- All pole signs 10’ or greater in height must include a Professional Engineered design stamp dated and signed. Signs lesser in height may require a footing detail.

- Site plan indicating the exact location of the proposed sign with setback dimensions.

- Planning department may have additional requirements.